## Staircase
SERVICE STAIRCASE PRESENT SETUP 28W 4 FEET CFL TUBES 12/24 HOURS RUNNING OFFERING - 18W 4FEET MOTION SENSOR AUTO DIMMABLE AT 3W -WARRANTY 3 YEARS ONSITE |  |  | FIRE STAIRCASE PRESENT SETUP 28W 4 FEET CFL TUBES 12/24 HOURS RUNNING OFFERING - 18W 4FEET MOTION SENSOR AUTO DIMMABLE AT 3W -WARRANTY 3 YEARS ONSITE
| Present LED/TUBE | LED Light with Sensors 2 feet |  | Present LED/TUBE | SMR MOTION SENSOR LED 4 feet
Number of tubelights | 356 | 356 | Number of tubelights | 374 | 374
Wattage | 28 | 18W-Auto Dimmable to 3W | Wattage | 28 | 18W-Auto Dimmable to 3W
Hours of use | 12 | “Let’s Assume – For 1 hour time all 356 panels were remain Fully functional ON 18W cause of motion or movement , so it has consumed 6.4~ electrical units in 1 hour . & for 11 hours time this area were not in motion or in movement and so it remains ON auto dimmable mode i.e. 3W and so it consumed 11.7~ electrical units in 12 hours. Total 18.1~ electrical units consumed in 12 hours time. | Hours of use | 12 | “Let’s Assume – For 1 hour time all 374 panels were remain Fully functional ON 18W cause of motion or movement , so it has consumed 6.7~ electrical units in 1 hour . & for 11 hours time this area were not in motion or in movement and so it remains ON auto dimmable mode i.e. 3W and so it consumed 12.3~ electrical units in 12 hours. Total 19.0~ electrical units consumed in 12 hours time.
Units per day | 119.616 | 18.1 | Units per day | 125.664 | 19 | 18W-1H-6.7U
Units per Year | 3708.096 | 561.1 | Units per Year | 3895.584 | 589 | 3W-11H-12.3U
Price Per Unit | 15 | 14 | Price Per Unit | 15 | 15 | 19
Bill Every Month | 55621.44 | 7855.4 | Bill Every Month | 58433.76 | 8835
Approx Savings Every Month with SMR Motion Sensors LED | 47766.04 |  | Approx Savings Every Month with SMR Motion Sensors LED | 49598.76
Product Cost* | 900 |  | Product Cost* | 900
Payback period (months) | 6.7077 |  | Payback period (months) | 6.7865
| 'Product Cost X Nuber of total tubes / Saving per month' |  |  | 'Product Cost X Nuber of total tubes / Saving per month'

## 247 Running Tubes
24/7 Running Tubes : Pump room (71) + Meter Room (18) + Main Pump Room (34) + DG Romm (15) Total:138 tubes PRESENT SETUP 28W 4 FEET CFL TUBES 24/7 HOURS RUNNING OFFERING - 18W 4FEET MOTION SENSOR AUTO DIMMABLE AT 3W -WARRANTY 3 YEARS ONSITE
Details | Present LED/TUBE | SMR MOTION SENSOR LED 4 feet
Number of tubelights | 138 | 138
Wattage | 28 | 18-Auto Dimmable to 3w
Hours of use | 24 | “Let’s Assume – For 1 hour time all 138 tubes were remain Fully functional ON 18W cause of motion or movement , so it has consumed 2.5~ electrical units in 1 hour . & for 23 hours time this area were not in motion or in movement and so it remains ON auto dimmable mode i.e. 3W and so it consumed 9.5~ electrical units in 24 hours. Total 12.0~ electrical units consumed in 24 hours time.
Units per day | 92.736 | 12
Units per Month | 2874.816 | 372
Price Per Unit | 15 | 15
Bill Every Month | 43122.24 | 5580
Approx Savings Every Month with SMR Motion Sensors LED | 37542.24
Product Cost* | 900
Payback Period (Months) | 3.3083
Payback Period (Caluculation) | 'Product Cost X Nuber of total tubes / Saving per month'

## Parking Total
24/7 Running Tubes : Parking All Areas- P0 (86) + P4 (330) + P5 (325) + P6 (335) Total : 1076 PRESENT SETUP 28W 4 FEET CFL TUBES 24/7 HOURS RUNNING OFFERING - 18W 4FEET MOTION SENSOR AUTO DIMMABLE AT 3W -WARRANTY 3 YEARS ONSITE
| Present LED/TUBE | SMR MOTION SENSOR LED 4 feet
Number of tubelights | 1076 | 1076
Wattage | 28 | 18w Auto dimmable to 3w
Hours of use | 24 | “Let’s Assume – For 2 hour time all 1076 tubes were remain Fully functional ON 18W cause of motion or movement , so it has consumed 38.7~ electrical units in 2 hours . & for 22 hours time this area were not in motion or in movement and so it remains ON auto dimmable mode i.e. 3W and so it consumed 71.0~ electrical units in 24 hours. Total 78.0~ electrical units consumed in 24 hours time.
Units per day | 723.072 | 78
Units per Month | 22415.232 | 2418
Price Per Unit | 15 | 15
Bill Every Month | 336228.48 | 36270
Approx Savings Every Month with SMR Motion Sensors LED | 299958.48
Product Cost* | 900
Payback period (months) | 3.2284
'Product Cost X Nuber of total tubes / Saving per month'